HADLEIGH PARKSIDE PRE-SCHOOL

Fire safety and emergency evacuation

We ensure the highest possible standard of fire precautions are in place. The person in charge and our staff are am familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer or Fire Safety Consultant. A Fire Safety Log Book is used to record the findings of risk assessment, any actions taken or incidents that have occurred and our fire drills. Downloadable Fire Safety Log Books are widely available free of charge on line.

Safeguarding and Welfare Requirement: Safety and Suitability of Premises, Environment and Equipment

Providers must take reasonable steps to ensure the safety of children, staff and others on the premises in the case of fire or any other emergency and must have an emergency evacuation procedure.

Procedures

Fire safety risk assessment

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- Our fire Marshall is Rhiannon Clark.

- The manager has had received training in fire safety sufficient to be competent to carry out the risk assessment; this will be written where there are more than five staff and will follow the Government guidance Fire Safety Risk Assessment - Educational Premises (HMG 2006).

- Our fire safety risk assessment focuses on the following for each area of the setting:

- Electrical plugs, wires and sockets.

- Electrical items.

- Gas boilers.

- Cookers.

- Matches.

- Flammable materials – including furniture, furnishings, paper etc.

- Flammable chemicals.

- Means of escape.

- Anything else identified.

Fire safety precautions taken

- We ensure that fire doors are clearly marked, never obstructed and easily opened from the inside.

- We ensure that smoke detectors/alarms and firefighting appliances conform to BS EN standards, are fitted in appropriate high-risk areas of the building and are checked as specified by the manufacturer.

- We have all electrical equipment checked annually by a qualified electrician. Any faulty electrical equipment is taken out of use and either repaired or replaced.

- We ensure sockets are covered. But not using socket coverings, but with furniture where possible. Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises.

- explained to new members of staff, volunteers and parents; and

- practised regularly, at least once every half term.

- Records are kept of fire drills and of the servicing of fire safety equipment.

Emergency evacuation procedure

Every setting is different, and the evacuation procedure will be suitable for each setting. It must cover procedures for practice drills including:

- How children are familiar with the sound of the fire alarm.

- How the children, staff and parents know where the fire exits are.

- How children are led from the building to the assembly point.

- How children will be accounted for and who by.

- How long it takes to get the children out safely.

- Who calls the emergency services, and when, in the event of a real fire.

- How parents are contacted.

- Our meeting point if exciting the building via the front door fire exit is the lamp post adjacent to the play park

- Our meeting point if exciting the building via the back door fire exit is through the black rear gate to meet at the shrubbery in the centre of the field.

- The deputy manager is responsible for getting the register and out and about bag

- The manager is responsible for sweeping the room and ensuring all is clear and collecting the mobile to contact parents.

- Once at the meeting point the deputy should take the register and ensure all children and staff are present.

- No one is to re entre the setting unless safe.

Fire drills

We hold fire drills termly and record the following information:

- The date and time of the drill.

- Number of adults and children involved.

- How long it took to evacuate.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

Further guidance

- Fire Safety Risk Assessment - Educational Premises (HMG 2006)

Other useful Pre-school Learning Alliance publications

- Fire Safety Record (2015)

| This policy was adopted by | Hadleigh Parkside Pre-school | (name of provider) |
| --- | --- | --- |
| On | January 2025 | (date) |
| Date to be reviewed | January 2026 | (date) |
| Signed on behalf of the provider |  |  |
| Name of signatory | Rhiannon Clark |  |
| Role of signatory | Deputy Manager |  |